## R_Orvw
68 | 155 | R_Orvw | 163 | 184 | 187 | 189 | 199
sheet usage | SPC-1 Run Set Overview Worksheet
Reduced on: | Oct 26, 2019 7:23 PM
DR version: | v1.36
Run Sequence Reconciliation
Run Name | Phase Name | Interval | Starting Date Time | Ending Date Time | Duration | Gap | Phase Type | Raw Results Workbook Name
SPC1_INIT_0 |  |  | 2019-10-22 15:53 | 2019-10-22 19:25 | 3:33 |  | INIT | 1 SPC1_INIT_0_Raw_Results.xlsx
SPC1_VERIFY_0 |  |  | 2019-10-22 19:25 | 2019-10-22 19:30 | 0:04 | 0:00 | VERIFY | 5 SPC1_VERIFY_0_Raw_Results.xlsx
SPC1_METRICS_0 |  |  | 2019-10-22 19:30 | 2019-10-23 13:23 | 17:53 | 0:00 | RAMP | 2 SPC1_METRICS_0_Raw_Results.xlsx
| SUSTAIN | Trnsn | 2019-10-22 19:32 | 2019-10-23 01:32 | 6:00
| SUSTAIN | MI | 2019-10-23 01:32 | 2019-10-23 09:32 | 8:00
| SUSTAIN | RO | 2019-10-23 09:32 | 2019-10-23 09:33 | 0:01
| RAMPD_100 | Trnsn | 2019-10-23 09:33 | 2019-10-23 09:36 | 0:03
| RAMPD_100 | MI | 2019-10-23 09:36 | 2019-10-23 09:46 | 0:10
| RAMPD_100 | RO | 2019-10-23 09:46 | 2019-10-23 09:47 | 0:01
| RAMPD_95 | Trnsn | 2019-10-23 09:47 | 2019-10-23 09:50 | 0:03
| RAMPD_95 | MI | 2019-10-23 09:50 | 2019-10-23 10:00 | 0:10
| RAMPD_95 | RO | 2019-10-23 10:00 | 2019-10-23 10:01 | 0:01
| RAMPD_90 | Trnsn | 2019-10-23 10:01 | 2019-10-23 10:04 | 0:03
| RAMPD_90 | MI | 2019-10-23 10:04 | 2019-10-23 10:14 | 0:10
| RAMPD_90 | RO | 2019-10-23 10:14 | 2019-10-23 10:15 | 0:01
| RAMPD_80 | Trnsn | 2019-10-23 10:15 | 2019-10-23 10:18 | 0:03
| RAMPD_80 | MI | 2019-10-23 10:18 | 2019-10-23 10:28 | 0:10
| RAMPD_80 | RO | 2019-10-23 10:28 | 2019-10-23 10:29 | 0:01
| RAMPD_50 | Trnsn | 2019-10-23 10:29 | 2019-10-23 10:32 | 0:03
| RAMPD_50 | MI | 2019-10-23 10:32 | 2019-10-23 10:42 | 0:10
| RAMPD_50 | RO | 2019-10-23 10:42 | 2019-10-23 10:43 | 0:01
| RAMPD_10 | Trnsn | 2019-10-23 10:43 | 2019-10-23 10:46 | 0:03
| RAMPD_10 | MI | 2019-10-23 10:46 | 2019-10-23 10:56 | 0:10
| RAMPD_10 | RO | 2019-10-23 10:56 | 2019-10-23 10:57 | 0:01
| RAMPU_50 | Trnsn | 2019-10-23 10:57 | 2019-10-23 11:00 | 0:03
| RAMPU_50 | MI | 2019-10-23 11:00 | 2019-10-23 11:10 | 0:10
| RAMPU_50 | RO | 2019-10-23 11:10 | 2019-10-23 11:11 | 0:01
| RAMPU_80 | Trnsn | 2019-10-23 11:11 | 2019-10-23 11:14 | 0:03
| RAMPU_80 | MI | 2019-10-23 11:14 | 2019-10-23 11:24 | 0:10
| RAMPU_80 | RO | 2019-10-23 11:24 | 2019-10-23 11:25 | 0:01
| RAMPU_90 | Trnsn | 2019-10-23 11:25 | 2019-10-23 11:28 | 0:03
| RAMPU_90 | MI | 2019-10-23 11:28 | 2019-10-23 11:38 | 0:10
| RAMPU_90 | RO | 2019-10-23 11:38 | 2019-10-23 11:39 | 0:01
| RAMPU_95 | Trnsn | 2019-10-23 11:39 | 2019-10-23 11:42 | 0:03
| RAMPU_95 | MI | 2019-10-23 11:42 | 2019-10-23 11:52 | 0:10
| RAMPU_95 | RO | 2019-10-23 11:52 | 2019-10-23 11:53 | 0:01
| RAMPU_100 | Trnsn | 2019-10-23 11:53 | 2019-10-23 11:56 | 0:03
| RAMPU_100 | MI | 2019-10-23 11:56 | 2019-10-23 12:06 | 0:10
| RAMPU_100 | RO | 2019-10-23 12:06 | 2019-10-23 12:07 | 0:01
| RAMP_0 | Trnsn | 2019-10-23 12:07 | 2019-10-23 12:10 | 0:03
| RAMP_0 | MI | 2019-10-23 12:10 | 2019-10-23 12:20 | 0:10
| RAMP_0 | RO | 2019-10-23 12:20 | 2019-10-23 12:21 | 0:01
| REPEAT_1_10 | Trnsn | 2019-10-23 12:21 | 2019-10-23 12:24 | 0:03
| REPEAT_1_10 | MI | 2019-10-23 12:24 | 2019-10-23 12:34 | 0:10
| REPEAT_1_10 | RO | 2019-10-23 12:34 | 2019-10-23 12:35 | 0:01
| REPEAT_1_100 | Trnsn | 2019-10-23 12:35 | 2019-10-23 12:38 | 0:03
| REPEAT_1_100 | MI | 2019-10-23 12:38 | 2019-10-23 12:48 | 0:10
| REPEAT_1_100 | RO | 2019-10-23 12:48 | 2019-10-23 12:49 | 0:01
| REPEAT_2_10 | Trnsn | 2019-10-23 12:49 | 2019-10-23 12:52 | 0:03
| REPEAT_2_10 | MI | 2019-10-23 12:52 | 2019-10-23 13:02 | 0:10
| REPEAT_2_10 | RO | 2019-10-23 13:02 | 2019-10-23 13:03 | 0:01
| REPEAT_2_100 | Trnsn | 2019-10-23 13:03 | 2019-10-23 13:06 | 0:03
| REPEAT_2_100 | MI | 2019-10-23 13:06 | 2019-10-23 13:16 | 0:10
| REPEAT_2_100 | RO | 2019-10-23 13:16 | 2019-10-23 13:17 | 0:01
| BM_END | Trnsn | 2019-10-23 13:17 | 2019-10-23 13:19 | 0:03
| BM_END | MI | 2019-10-23 13:19 | 2019-10-23 13:20 | 0:01
| BM_END | RO | 2019-10-23 13:20 | 2019-10-23 13:23 | 0:02
SPC1_VERIFY_1 |  |  | 2019-10-23 13:23 | 2019-10-23 13:27 | 0:04 | 0:00 | VERIFY | 6 SPC1_VERIFY_1_Raw_Results.xlsx
SPC1_PERSIST_1_0 |  |  | 2019-10-23 13:27 | 2019-10-23 13:43 | 0:16 | 0:00 | PERS-WRITE | 3 SPC1_PERSIST_1_0_Raw_Results.xlsx
SPC1_PERSIST_2_0 |  |  | 2019-10-23 14:04 | 2019-10-23 14:21 | 0:17 | 0:21 | PERS-READ | 4 SPC1_PERSIST_2_0_Raw_Results.xlsx
Storage Size Reconciliation
|  | ASU1 |  | ASU2 |  | ASU3
Run Name | Slave | Size | Pctg | Size | Pctg | Size | Pctg
SPC1_INIT_0 | SLAVE_0 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_INIT_0 | SLAVE_1 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_INIT_0 | SLAVE_2 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_INIT_0 | SLAVE_3 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_INIT_0 | SLAVE_4 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_INIT_0 | SLAVE_5 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_INIT_0 | SLAVE_6 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_INIT_0 | SLAVE_7 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_VERIFY_0 | SLAVE_0 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_METRICS_0 | SLAVE_0 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_METRICS_0 | SLAVE_1 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_METRICS_0 | SLAVE_10 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_METRICS_0 | SLAVE_11 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_METRICS_0 | SLAVE_12 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_METRICS_0 | SLAVE_13 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_METRICS_0 | SLAVE_14 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_METRICS_0 | SLAVE_15 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_METRICS_0 | SLAVE_16 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_METRICS_0 | SLAVE_17 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_METRICS_0 | SLAVE_18 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_METRICS_0 | SLAVE_19 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_METRICS_0 | SLAVE_2 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_METRICS_0 | SLAVE_20 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_METRICS_0 | SLAVE_21 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_METRICS_0 | SLAVE_22 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_METRICS_0 | SLAVE_23 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_METRICS_0 | SLAVE_24 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_METRICS_0 | SLAVE_25 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_METRICS_0 | SLAVE_26 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_METRICS_0 | SLAVE_27 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_METRICS_0 | SLAVE_28 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_METRICS_0 | SLAVE_29 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_METRICS_0 | SLAVE_3 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_METRICS_0 | SLAVE_30 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_METRICS_0 | SLAVE_31 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_METRICS_0 | SLAVE_32 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_METRICS_0 | SLAVE_33 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_METRICS_0 | SLAVE_34 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_METRICS_0 | SLAVE_35 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_METRICS_0 | SLAVE_36 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_METRICS_0 | SLAVE_37 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_METRICS_0 | SLAVE_38 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_METRICS_0 | SLAVE_39 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_METRICS_0 | SLAVE_4 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_METRICS_0 | SLAVE_5 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_METRICS_0 | SLAVE_6 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_METRICS_0 | SLAVE_7 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_METRICS_0 | SLAVE_8 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_METRICS_0 | SLAVE_9 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_VERIFY_1 | SLAVE_0 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_PERSIST_1_0 | SLAVE_0 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_PERSIST_1_0 | SLAVE_1 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_PERSIST_1_0 | SLAVE_10 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_PERSIST_1_0 | SLAVE_11 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_PERSIST_1_0 | SLAVE_12 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_PERSIST_1_0 | SLAVE_13 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_PERSIST_1_0 | SLAVE_14 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_PERSIST_1_0 | SLAVE_15 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_PERSIST_1_0 | SLAVE_2 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_PERSIST_1_0 | SLAVE_3 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_PERSIST_1_0 | SLAVE_4 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_PERSIST_1_0 | SLAVE_5 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_PERSIST_1_0 | SLAVE_6 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_PERSIST_1_0 | SLAVE_7 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_PERSIST_1_0 | SLAVE_8 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_PERSIST_1_0 | SLAVE_9 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_PERSIST_2_0 | SLAVE_0 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_PERSIST_2_0 | SLAVE_1 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_PERSIST_2_0 | SLAVE_10 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_PERSIST_2_0 | SLAVE_11 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_PERSIST_2_0 | SLAVE_12 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_PERSIST_2_0 | SLAVE_13 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_PERSIST_2_0 | SLAVE_14 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_PERSIST_2_0 | SLAVE_15 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_PERSIST_2_0 | SLAVE_2 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_PERSIST_2_0 | SLAVE_3 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_PERSIST_2_0 | SLAVE_4 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_PERSIST_2_0 | SLAVE_5 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_PERSIST_2_0 | SLAVE_6 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_PERSIST_2_0 | SLAVE_7 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_PERSIST_2_0 | SLAVE_8 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
SPC1_PERSIST_2_0 | SLAVE_9 | 29823313379328 | 45% | 29823313379328 | 45% | 6627402973184 | 10%
Results Summaries
|  | ASU1 |  | ASU2 |  | ASU3
Initialize Content | Type | Size | Pctg | Size | Pctg | Size | Pctg
| Text | 1491164782592 | 40% | 1491076595712 | 40% | 331407785984 | 40%
| Binary | 745681780736 | 20% | 745639936000 | 20% | 165667774464 | 20%
| Sparse | 1491069706240 | 40% | 1491199737856 | 40% | 331351908352 | 40%
| Totals | 3727916269568 |  | 3727916269568 |  | 828427468800
RAMP Phase Name | Workload Level | Measured IOPs | Average RT | Measured Data Rate |  |  | IOPs Compare | RT Compare | Data Rate Compare | Requested IOPs Compare
SUSTAIN | 1601000 | 1601096.8096 | 0.36556 | 17166.3454 | PASS |  | 0.004267% | 0.5904% | 0.005621% | 0.006047%
RAMPD_100 | 1601000 | 1601165.1233 | 0.36773 | 17167.3103 | PASS | Ref 100% |  |  |  | 0.01031%
RAMPD_95 | 1520950 | 1521074.2433 | 0.31927 | 16308.3482 | PASS | Ref 95% |  |  |  | 0.008169%
RAMPD_90 | 1440900 | 1440965.0217 | 0.29525 | 15450.0145 | PASS | Ref 90% |  |  |  | 0.004513%
RAMPD_80 | 1280800 | 1280922.225 | 0.25156 | 13733.0178 | PASS | Ref 80% |  |  |  | 0.009543%
RAMPD_50 | 800500 | 800590.2867 | 0.18795 | 8584.4038 | PASS | Ref 50% |  |  |  | 0.01128%
RAMPD_10 | 160100 | 160128.3083 | 0.15073 | 1716.7827 | PASS | Ref 10% |  |  |  | 0.01768%
RAMPU_50 | 800500 | 800550.3383 | 0.18999 | 8582.609 | PASS |  | 0.00499% | -1.083% | 0.02091% | 0.006288%
RAMPU_80 | 1280800 | 1280835.7533 | 0.25712 | 13732.569 | PASS |  | 0.006751% | -2.208% | 0.003268% | 0.002791%
RAMPU_90 | 1440900 | 1440998.225 | 0.29702 | 15449.3731 | PASS |  | -0.002304% | -0.5995% | 0.004151% | 0.006817%
RAMPU_95 | 1520950 | 1521059.905 | 0.32866 | 16308.7594 | PASS |  | 0.0009426% | -2.943% | -0.002521% | 0.007226%
RAMPU_100 | 1601000 | 1601071.095 | 0.37173 | 17166.1375 | PASS |  | 0.005872% | -1.086% | 0.006831% | 0.004441%
RAMP_0 | 0 | 0 | 0 | 0 | PASS |  |  |  |  | 0%
REPEAT_1_10 | 160100 | 160115.075 | 0.15103 | 1716.5344 | PASS |  | 0.008264% | -0.1993% | 0.01446% | 0.009416%
REPEAT_1_100 | 1601000 | 1601119.0733 | 0.39188 | 17166.41 | PASS |  | 0.002876% | -6.568% | 0.005244% | 0.007437%
REPEAT_2_10 | 160100 | 160096.29 | 0.15103 | 1716.4236 | PASS |  | 0.02% | -0.1994% | 0.02092% | -0.002317%
REPEAT_2_100 | 1601000 | 1601114.4617 | 0.37306 | 17166.1594 | PASS |  | 0.003164% | -1.449% | 0.006704% | 0.007149%
BM_END | 0 | 0 | 0 | 0 | PASS |  |  |  |  | 0%
|  | IO Count | Match Count | Overwrite Count | Error Count |  | Total Number of Logical Blocks Written: |  |  |  | 329016597
Persistence Write | Total: | 329016597 |  |  |  |  | Total Number of Logical Blocks Matched: |  |  |  | 168995184
[7 empty] | Total Number of Logical Blocks Overwritten: |  |  |  | 160021413
Persistence Read | Totals: | 329016597 | 168995184 | 160021413 | 0 |  | Total Number of Logical Blocks that Failed Matching: |  |  |  | 0
[7 empty] | Time Duration for Writing Test Logical Blocks (sec): |  |  |  | 601.0001
[7 empty] | Size in bytes of each Logical Block: |  |  |  | 8192
[7 empty] | Number of Failed I/O Requests during Test: |  |  |  | 0
| Binary |  |  | Sample Counts
Verify Content | Mean | Sum Sqrs | Like XORs | ASU-1 | ASU-2 | ASU-3
SPC1_VERIFY_0 | PASS | PASS | PASS | PASS | PASS | PASS
SPC1_VERIFY_1 | PASS | PASS | PASS | PASS | PASS | PASS
Note on A1: Carrel Wilson: cell is used by macro to locate beginning of the field rows. Do NOT change the contents of this cell!
Note on A2: Carrel Wilson: This worksheet collects the run header information for each of the Raw Binary Data files processed in the data reduction. There is one set of Input File entries for each submitted binary data file.