## QL-Cover
26 |  | QL-Cover
sheet usage | Quick Look Test Run Overview
Test Reduced: | Aug 18, 2020 3:28 PM |  |  | Run Name: | SPC1_METRICS_0
DR version: | v1.36 |  |  | Test Started: | 2020-08-08 09:28
Phase Name | Measured IOPs | Average RT | Measured Data Rate | Clipped | Incomplete | Failed
SUSTAIN | 2710142.6667 | 0.54194 | 27710.4792 | 0 | 0 | 0
RAMPD_100 | 2710220.6 | 0.5409 | 27711.3 | 0 | 0 | 0
RAMPD_95 | 2574653.8 | 0.4863 | 26326.2 | 0 | 0 | 0
RAMPD_90 | 2439272.6 | 0.3381 | 24940.9 | 0 | 0 | 0
RAMPD_80 | 2168063.6 | 0.2916 | 22167.8 | 0 | 0 | 0
RAMPD_50 | 1355170.9 | 0.2125 | 13855.9 | 0 | 0 | 0
RAMPD_10 | 271029.9 | 0.1484 | 2770.7 | 0 | 0 | 0
RAMPU_50 | 1355188.3 | 0.2122 | 13856.7 | 0 | 0 | 0
RAMPU_80 | 2168175 | 0.2969 | 22168.6 | 0 | 0 | 0
RAMPU_90 | 2439123.1 | 0.3464 | 24939.6 | 0 | 0 | 0
RAMPU_95 | 2574600.8 | 0.4255 | 26325.2 | 0 | 0 | 0
RAMPU_100 | 2710117.1 | 0.5105 | 27710.2 | 0 | 0 | 0
RAMP_0 | 0 | 0 | 0 | 0 | 0 | 0
REPEAT_1_10 | 271030 | 0.1483 | 2770.5 | 0 | 0 | 0
REPEAT_1_100 | 2710122.8 | 0.5294 | 27710.5 | 0 | 0 | 0
REPEAT_2_10 | 271027.9 | 0.1483 | 2770.5 | 0 | 0 | 0
REPEAT_2_100 | 2710171.4 | 0.5369 | 27711.1 | 0 | 0 | 0
BM_END | 0 | 0 | 0 | 0 | 0 | 0
Note on A1: Carrel Wilson: cell is used by macro to locate beginning of the field rows. Do NOT change the contents of this cell!
Note on A2: Carrel Wilson: This worksheet provides a consolidated view of the entire log processed into the workbook. The content of the sheet will differ depending upon the type of run included in the log.

## QL-Data
722 | 62 | QL-Data |  |  |  |  | 16 | 17 | 18 | 19 | 20
sheet usage | Quick Look Test Run Log Data
Reduced on: | Aug 18, 2020 3:28 PM |  |  | Run Name: | SPC1_METRICS_0
DR version: | v1.36
Measurement Interval Markers
Phase Name | Relative Time | Measured IOPs | Average RT | Measured Data Rate | Clipped | MI | Phase Name | Time | Measured IOPs | Average RT | Measured Data Rate
SUSTAIN | 0:01 | 1288415 | 0.26 | 13175 | 0 |  | SUSTAIN | 0.0028072
SUSTAIN | 0:02 | 2585505 | 0.391 | 26436 | 0 |  | SUSTAIN | 0.16913 | 2710142.6667 | 0.54194 | 27710.4792
SUSTAIN | 0:03 | 2709996 | 0.577 | 27711 | 0 |  | SUSTAIN | 0.33545
SUSTAIN | 0:04 | 2710106 | 0.451 | 27709 | 0 | MI | RAMPD_100 | 0.33892
SUSTAIN | 0:05 | 2710023 | 0.423 | 27708 | 0 | MI | RAMPD_100 | 0.34204 | 2710220.6 | 0.5409 | 27711.3
SUSTAIN | 0:06 | 2710157 | 0.514 | 27711 | 0 | MI | RAMPD_100 | 0.34517
SUSTAIN | 0:07 | 2710472 | 0.47 | 27717 | 0 | MI | RAMPD_95 | 0.34864
SUSTAIN | 0:08 | 2710040 | 0.532 | 27707 | 0 | MI | RAMPD_95 | 0.35177 | 2574653.8 | 0.4863 | 26326.2
SUSTAIN | 0:09 | 2710011 | 0.449 | 27706 | 0 | MI | RAMPD_95 | 0.35489
SUSTAIN | 0:10 | 2709852 | 0.424 | 27708 | 0 | MI | RAMPD_90 | 0.35836
SUSTAIN | 0:11 | 2709857 | 0.518 | 27709 | 0 | MI | RAMPD_90 | 0.36149 | 2439272.6 | 0.3381 | 24940.9
SUSTAIN | 0:12 | 2710251 | 0.475 | 27711 | 0 | MI | RAMPD_90 | 0.36461
SUSTAIN | 0:13 | 2710325 | 0.574 | 27715 | 0 | MI | RAMPD_80 | 0.36809
SUSTAIN | 0:14 | 2709858 | 0.429 | 27706 | 0 | MI | RAMPD_80 | 0.37121 | 2168063.6 | 0.2916 | 22167.8
SUSTAIN | 0:15 | 2709894 | 0.432 | 27710 | 0 | MI | RAMPD_80 | 0.37434
SUSTAIN | 0:16 | 2710232 | 0.534 | 27710 | 0 | MI | RAMPD_50 | 0.37781
SUSTAIN | 0:17 | 2710090 | 0.479 | 27713 | 0 | MI | RAMPD_50 | 0.38093 | 1355170.9 | 0.2125 | 13855.9
SUSTAIN | 0:18 | 2710580 | 0.528 | 27715 | 0 | MI | RAMPD_50 | 0.38406
SUSTAIN | 0:19 | 2709596 | 0.424 | 27706 | 0 | MI | RAMPD_10 | 0.38753
SUSTAIN | 0:20 | 2709974 | 0.422 | 27710 | 0 | MI | RAMPD_10 | 0.39065 | 271029.9 | 0.1484 | 2770.7
SUSTAIN | 0:21 | 2710242 | 0.542 | 27713 | 0 | MI | RAMPD_10 | 0.39378
SUSTAIN | 0:22 | 2710058 | 0.472 | 27707 | 0 | MI | RAMPU_50 | 0.39725
SUSTAIN | 0:23 | 2710404 | 2.987 | 27713 | 0 | MI | RAMPU_50 | 0.40038 | 1355188.3 | 0.2122 | 13856.7
SUSTAIN | 0:24 | 2709882 | 0.424 | 27703 | 0 | MI | RAMPU_50 | 0.4035
SUSTAIN | 0:25 | 2710312 | 0.442 | 27711 | 0 | MI | RAMPU_80 | 0.40697
SUSTAIN | 0:26 | 2710013 | 0.526 | 27707 | 0 | MI | RAMPU_80 | 0.4101 | 2168175 | 0.2969 | 22168.6
SUSTAIN | 0:27 | 2709939 | 0.468 | 27711 | 0 | MI | RAMPU_80 | 0.41322
SUSTAIN | 0:28 | 2710040 | 0.526 | 27709 | 0 | MI | RAMPU_90 | 0.4167
SUSTAIN | 0:29 | 2709978 | 0.432 | 27711 | 0 | MI | RAMPU_90 | 0.41982 | 2439123.1 | 0.3464 | 24939.6
SUSTAIN | 0:30 | 2710188 | 0.431 | 27708 | 0 | MI | RAMPU_90 | 0.42295
SUSTAIN | 0:31 | 2710631 | 0.538 | 27717 | 0 | MI | RAMPU_95 | 0.42642
SUSTAIN | 0:32 | 2710277 | 0.465 | 27712 | 0 | MI | RAMPU_95 | 0.42954 | 2574600.8 | 0.4255 | 26325.2
SUSTAIN | 0:33 | 2710408 | 0.516 | 27712 | 0 | MI | RAMPU_95 | 0.43267
SUSTAIN | 0:34 | 2710008 | 0.422 | 27711 | 0 | MI | RAMPU_100 | 0.43614
SUSTAIN | 0:35 | 2710032 | 0.443 | 27708 | 0 | MI | RAMPU_100 | 0.43927 | 2710117.1 | 0.5105 | 27710.2
SUSTAIN | 0:36 | 2709966 | 0.527 | 27706 | 0 | MI | RAMPU_100 | 0.44239
SUSTAIN | 0:37 | 2710355 | 0.438 | 27715 | 0 | MI | RAMP_0 | 0.44586
SUSTAIN | 0:38 | 2710178 | 0.514 | 27710 | 0 | MI | RAMP_0 | 0.44899 | 0 | 0 | 0
SUSTAIN | 0:39 | 2709944 | 0.435 | 27710 | 0 | MI | RAMP_0 | 0.45211
SUSTAIN | 0:40 | 2709861 | 0.431 | 27709 | 0 | MI | REPEAT_1_10 | 0.45559
SUSTAIN | 0:41 | 2710631 | 0.508 | 27716 | 0 | MI | REPEAT_1_10 | 0.45871 | 271030 | 0.1483 | 2770.5
SUSTAIN | 0:42 | 2710013 | 0.449 | 27712 | 0 | MI | REPEAT_1_10 | 0.46184
SUSTAIN | 0:43 | 2710151 | 0.541 | 27709 | 0 | MI | REPEAT_1_100 | 0.46531
SUSTAIN | 0:44 | 2710109 | 0.437 | 27708 | 0 | MI | REPEAT_1_100 | 0.46843 | 2710122.8 | 0.5294 | 27710.5
SUSTAIN | 0:45 | 2710056 | 0.446 | 27711 | 0 | MI | REPEAT_1_100 | 0.47156
SUSTAIN | 0:46 | 2709867 | 0.517 | 27707 | 0 | MI | REPEAT_2_10 | 0.47503
SUSTAIN | 0:47 | 2710341 | 0.464 | 27713 | 0 | MI | REPEAT_2_10 | 0.47815 | 271027.9 | 0.1483 | 2770.5
SUSTAIN | 0:48 | 2709964 | 0.555 | 27707 | 0 | MI | REPEAT_2_10 | 0.48128
SUSTAIN | 0:49 | 2710165 | 0.448 | 27710 | 0 | MI | REPEAT_2_100 | 0.48475
SUSTAIN | 0:50 | 2710354 | 0.434 | 27711 | 0 | MI | REPEAT_2_100 | 0.48788 | 2710171.4 | 0.5369 | 27711.1
SUSTAIN | 0:51 | 2710307 | 0.512 | 27709 | 0 | MI | REPEAT_2_100 | 0.491
SUSTAIN | 0:52 | 2710134 | 0.46 | 27710 | 0 | MI | BM_END | 0.49378
SUSTAIN | 0:53 | 2710268 | 3.441 | 27712 | 0 | MI | BM_END | 0.49378 | 0 | 0 | 0
SUSTAIN | 0:54 | 2709993 | 0.482 | 27709 | 0 | MI | BM_END | 0.49378
SUSTAIN | 0:55 | 2710362 | 0.433 | 27715 | 0 | MI
SUSTAIN | 0:56 | 2709926 | 0.543 | 27711 | 0 | MI
SUSTAIN | 0:57 | 2710474 | 0.481 | 27715 | 0 | MI
SUSTAIN | 0:58 | 2710420 | 0.555 | 27714 | 0 | MI
SUSTAIN | 0:59 | 2710199 | 0.445 | 27712 | 0 | MI
SUSTAIN | 1:00 | 2709984 | 0.403 | 27711 | 0 | MI
SUSTAIN | 1:01 | 2709892 | 0.501 | 27709 | 0 | MI
SUSTAIN | 1:02 | 2710075 | 0.451 | 27707 | 0 | MI
SUSTAIN | 1:03 | 2709967 | 0.49 | 27709 | 0 | MI
SUSTAIN | 1:04 | 2710353 | 0.41 | 27714 | 0 | MI
SUSTAIN | 1:05 | 2710321 | 0.403 | 27714 | 0 | MI
SUSTAIN | 1:06 | 2710568 | 0.502 | 27714 | 0 | MI
SUSTAIN | 1:07 | 2710305 | 0.434 | 27712 | 0 | MI
SUSTAIN | 1:08 | 2710267 | 0.496 | 27712 | 0 | MI
SUSTAIN | 1:09 | 2709886 | 0.402 | 27708 | 0 | MI
SUSTAIN | 1:10 | 2710297 | 0.404 | 27713 | 0 | MI
SUSTAIN | 1:11 | 2710593 | 0.492 | 27714 | 0 | MI
SUSTAIN | 1:12 | 2709947 | 0.425 | 27706 | 0 | MI
SUSTAIN | 1:13 | 2710080 | 0.466 | 27709 | 0 | MI
SUSTAIN | 1:14 | 2710124 | 0.405 | 27708 | 0 | MI
SUSTAIN | 1:15 | 2710153 | 0.425 | 27714 | 0 | MI
SUSTAIN | 1:16 | 2710139 | 0.508 | 27711 | 0 | MI
SUSTAIN | 1:17 | 2709895 | 0.431 | 27709 | 0 | MI
SUSTAIN | 1:18 | 2710391 | 0.464 | 27715 | 0 | MI
SUSTAIN | 1:19 | 2710390 | 0.409 | 27711 | 0 | MI
SUSTAIN | 1:20 | 2710228 | 0.439 | 27714 | 0 | MI
SUSTAIN | 1:21 | 2710289 | 0.502 | 27716 | 0 | MI
SUSTAIN | 1:22 | 2710339 | 0.408 | 27715 | 0 | MI
SUSTAIN | 1:23 | 2709876 | 0.459 | 27708 | 0 | MI
SUSTAIN | 1:24 | 2709828 | 2.644 | 27709 | 0 | MI
SUSTAIN | 1:25 | 2709874 | 0.445 | 27706 | 0 | MI
SUSTAIN | 1:26 | 2709886 | 0.547 | 27709 | 0 | MI
SUSTAIN | 1:27 | 2710011 | 0.395 | 27711 | 0 | MI
SUSTAIN | 1:28 | 2709961 | 0.471 | 27708 | 0 | MI
SUSTAIN | 1:29 | 2709493 | 0.435 | 27704 | 0 | MI
SUSTAIN | 1:30 | 2709977 | 0.433 | 27708 | 0 | MI
SUSTAIN | 1:31 | 2710420 | 0.501 | 27715 | 0 | MI
SUSTAIN | 1:32 | 2709965 | 0.393 | 27708 | 0 | MI
SUSTAIN | 1:33 | 2709957 | 0.483 | 27708 | 0 | MI
SUSTAIN | 1:34 | 2710260 | 0.423 | 27712 | 0 | MI
SUSTAIN | 1:35 | 2710368 | 0.428 | 27713 | 0 | MI
SUSTAIN | 1:36 | 2709930 | 0.477 | 27711 | 0 | MI
SUSTAIN | 1:37 | 2710413 | 0.391 | 27715 | 0 | MI
SUSTAIN | 1:38 | 2710107 | 0.481 | 27709 | 0 | MI
SUSTAIN | 1:39 | 2710165 | 0.443 | 27707 | 0 | MI
SUSTAIN | 1:40 | 2709689 | 0.427 | 27702 | 0 | MI
SUSTAIN | 1:41 | 2710251 | 0.462 | 27715 | 0 | MI
SUSTAIN | 1:42 | 2709998 | 0.392 | 27711 | 0 | MI
SUSTAIN | 1:43 | 2710277 | 0.504 | 27715 | 0 | MI
SUSTAIN | 1:44 | 2710139 | 0.441 | 27710 | 0 | MI
SUSTAIN | 1:45 | 2710396 | 0.437 | 27715 | 0 | MI
SUSTAIN | 1:46 | 2710202 | 0.513 | 27710 | 0 | MI
SUSTAIN | 1:47 | 2709788 | 0.436 | 27707 | 0 | MI
SUSTAIN | 1:48 | 2710088 | 0.507 | 27713 | 0 | MI
SUSTAIN | 1:49 | 2710438 | 0.464 | 27712 | 0 | MI
SUSTAIN | 1:50 | 2710149 | 0.418 | 27707 | 0 | MI
SUSTAIN | 1:51 | 2710130 | 0.463 | 27706 | 0 | MI
SUSTAIN | 1:52 | 2710275 | 0.412 | 27706 | 0 | MI
SUSTAIN | 1:53 | 2710122 | 0.515 | 27711 | 0 | MI
SUSTAIN | 1:54 | 2709940 | 3.389 | 27709 | 0 | MI
SUSTAIN | 1:55 | 2709918 | 0.415 | 27712 | 0 | MI
SUSTAIN | 1:56 | 2710025 | 0.514 | 27710 | 0 | MI
SUSTAIN | 1:57 | 2709773 | 0.426 | 27708 | 0 | MI
SUSTAIN | 1:58 | 2709999 | 0.536 | 27710 | 0 | MI
SUSTAIN | 1:59 | 2709704 | 0.445 | 27704 | 0 | MI
SUSTAIN | 2:00 | 2709983 | 0.417 | 27710 | 0 | MI
SUSTAIN | 2:01 | 2710442 | 0.489 | 27715 | 0 | MI
SUSTAIN | 2:02 | 2709725 | 0.421 | 27710 | 0 | MI
SUSTAIN | 2:03 | 2710462 | 0.496 | 27713 | 0 | MI
SUSTAIN | 2:04 | 2710186 | 0.419 | 27708 | 0 | MI
SUSTAIN | 2:05 | 2710278 | 0.415 | 27711 | 0 | MI
SUSTAIN | 2:06 | 2710152 | 0.483 | 27715 | 0 | MI
SUSTAIN | 2:07 | 2710062 | 0.405 | 27709 | 0 | MI
SUSTAIN | 2:08 | 2709705 | 0.49 | 27702 | 0 | MI
SUSTAIN | 2:09 | 2710413 | 0.478 | 27716 | 0 | MI
SUSTAIN | 2:10 | 2710114 | 0.407 | 27708 | 0 | MI
SUSTAIN | 2:11 | 2709810 | 0.477 | 27711 | 0 | MI
SUSTAIN | 2:12 | 2710319 | 0.427 | 27706 | 0 | MI
SUSTAIN | 2:13 | 2710188 | 0.474 | 27710 | 0 | MI
SUSTAIN | 2:14 | 2709875 | 0.407 | 27707 | 0 | MI
SUSTAIN | 2:15 | 2710068 | 0.416 | 27709 | 0 | MI
SUSTAIN | 2:16 | 2710428 | 0.494 | 27715 | 0 | MI
SUSTAIN | 2:17 | 2709896 | 0.416 | 27709 | 0 | MI
SUSTAIN | 2:18 | 2709874 | 0.502 | 27704 | 0 | MI
SUSTAIN | 2:19 | 2710280 | 0.4 | 27715 | 0 | MI
SUSTAIN | 2:20 | 2710067 | 0.43 | 27709 | 0 | MI
SUSTAIN | 2:21 | 2710194 | 0.56 | 27713 | 0 | MI
SUSTAIN | 2:22 | 2710368 | 0.441 | 27713 | 0 | MI
SUSTAIN | 2:23 | 2710310 | 0.507 | 27710 | 0 | MI
SUSTAIN | 2:24 | 2710131 | 2.648 | 27710 | 0 | MI
SUSTAIN | 2:25 | 2710339 | 0.435 | 27714 | 0 | MI
SUSTAIN | 2:26 | 2710040 | 0.531 | 27710 | 0 | MI
SUSTAIN | 2:27 | 2710546 | 0.493 | 27716 | 0 | MI
SUSTAIN | 2:28 | 2709888 | 0.563 | 27706 | 0 | MI
SUSTAIN | 2:29 | 2709873 | 0.42 | 27711 | 0 | MI
SUSTAIN | 2:30 | 2710183 | 0.421 | 27712 | 0 | MI
SUSTAIN | 2:31 | 2710164 | 0.5 | 27711 | 0 | MI
SUSTAIN | 2:32 | 2596999 | 0.405 | 26553 | 0 | MI
SUSTAIN | 2:33 | 2032506 | 0.481 | 20781 | 0 | MI
SUSTAIN | 2:34 | 3500571 | 0.425 | 35794 | 0 | MI
SUSTAIN | 2:35 | 2709736 | 0.427 | 27701 | 0 | MI
SUSTAIN | 2:36 | 2709715 | 0.494 | 27705 | 0 | MI
SUSTAIN | 2:37 | 2710397 | 0.412 | 27711 | 0 | MI
SUSTAIN | 2:38 | 2710219 | 0.513 | 27711 | 0 | MI
SUSTAIN | 2:39 | 2709961 | 0.415 | 27709 | 0 | MI
SUSTAIN | 2:40 | 2709923 | 0.433 | 27709 | 0 | MI
SUSTAIN | 2:41 | 2710186 | 0.499 | 27704 | 0 | MI
SUSTAIN | 2:42 | 2710374 | 0.422 | 27715 | 0 | MI
SUSTAIN | 2:43 | 2710259 | 0.501 | 27718 | 0 | MI
SUSTAIN | 2:44 | 2709984 | 0.422 | 27709 | 0 | MI
SUSTAIN | 2:45 | 2710172 | 0.427 | 27709 | 0 | MI
SUSTAIN | 2:46 | 2710258 | 0.486 | 27707 | 0 | MI
SUSTAIN | 2:47 | 2710114 | 0.446 | 27708 | 0 | MI
SUSTAIN | 2:48 | 2710551 | 0.512 | 27715 | 0 | MI
SUSTAIN | 2:49 | 2709869 | 0.414 | 27706 | 0 | MI
SUSTAIN | 2:50 | 2710297 | 0.428 | 27712 | 0 | MI
SUSTAIN | 2:51 | 2710041 | 0.511 | 27711 | 0 | MI
SUSTAIN | 2:52 | 2710014 | 0.436 | 27710 | 0 | MI
SUSTAIN | 2:53 | 2709934 | 0.508 | 27710 | 0 | MI
SUSTAIN | 2:54 | 2709734 | 3.341 | 27702 | 0 | MI
SUSTAIN | 2:55 | 2710167 | 0.409 | 27714 | 0 | MI
SUSTAIN | 2:56 | 2710059 | 0.535 | 27710 | 0 | MI
SUSTAIN | 2:57 | 2710679 | 0.457 | 27712 | 0 | MI
SUSTAIN | 2:58 | 2710059 | 0.432 | 27709 | 0 | MI
SUSTAIN | 2:59 | 2710318 | 0.457 | 27712 | 0 | MI
SUSTAIN | 3:00 | 2709977 | 0.428 | 27709 | 0 | MI
SUSTAIN | 3:01 | 2710060 | 0.521 | 27711 | 0 | MI
SUSTAIN | 3:02 | 2709976 | 0.436 | 27709 | 0 | MI
SUSTAIN | 3:03 | 2710501 | 0.399 | 27712 | 0 | MI
SUSTAIN | 3:04 | 2710170 | 0.479 | 27714 | 0 | MI
SUSTAIN | 3:05 | 2710031 | 0.408 | 27707 | 0 | MI
SUSTAIN | 3:06 | 2710297 | 0.506 | 27714 | 0 | MI
SUSTAIN | 3:07 | 2709922 | 0.425 | 27707 | 0 | MI
SUSTAIN | 3:08 | 2710118 | 0.394 | 27710 | 0 | MI
SUSTAIN | 3:09 | 2710359 | 0.461 | 27714 | 0 | MI
SUSTAIN | 3:10 | 2710260 | 0.424 | 27715 | 0 | MI
SUSTAIN | 3:11 | 2710105 | 0.503 | 27712 | 0 | MI
SUSTAIN | 3:12 | 2710147 | 0.403 | 27712 | 0 | MI
SUSTAIN | 3:13 | 2709953 | 0.394 | 27711 | 0 | MI
SUSTAIN | 3:14 | 2709965 | 0.462 | 27708 | 0 | MI
SUSTAIN | 3:15 | 2710003 | 0.42 | 27707 | 0 | MI
SUSTAIN | 3:16 | 2710100 | 0.506 | 27709 | 0 | MI
SUSTAIN | 3:17 | 2710059 | 0.403 | 27711 | 0 | MI
SUSTAIN | 3:18 | 2710009 | 0.393 | 27705 | 0 | MI
SUSTAIN | 3:19 | 2709671 | 0.502 | 27702 | 0 | MI
SUSTAIN | 3:20 | 2710118 | 0.445 | 27710 | 0 | MI
SUSTAIN | 3:21 | 2709879 | 0.499 | 27709 | 0 | MI
SUSTAIN | 3:22 | 2710179 | 0.399 | 27714 | 0 | MI
SUSTAIN | 3:23 | 2710111 | 0.403 | 27710 | 0 | MI
SUSTAIN | 3:24 | 2710333 | 3.428 | 27711 | 0 | MI
SUSTAIN | 3:25 | 2709605 | 0.419 | 27705 | 0 | MI
SUSTAIN | 3:26 | 2710460 | 0.471 | 27713 | 0 | MI
SUSTAIN | 3:27 | 2709955 | 0.4 | 27707 | 0 | MI
SUSTAIN | 3:28 | 2709634 | 0.473 | 27703 | 0 | MI
SUSTAIN | 3:29 | 2710008 | 0.531 | 27708 | 0 | MI
SUSTAIN | 3:30 | 2710557 | 0.457 | 27713 | 0 | MI
SUSTAIN | 3:31 | 2710146 | 0.501 | 27708 | 0 | MI
SUSTAIN | 3:32 | 2709946 | 0.409 | 27705 | 0 | MI
SUSTAIN | 3:33 | 2709964 | 0.417 | 27708 | 0 | MI
SUSTAIN | 3:34 | 2710353 | 0.491 | 27712 | 0 | MI
SUSTAIN | 3:35 | 2710131 | 0.427 | 27710 | 0 | MI
SUSTAIN | 3:36 | 2710018 | 0.489 | 27711 | 0 | MI
SUSTAIN | 3:37 | 2709835 | 0.403 | 27703 | 0 | MI
SUSTAIN | 3:38 | 2710370 | 0.412 | 27715 | 0 | MI
SUSTAIN | 3:39 | 2710462 | 0.512 | 27713 | 0 | MI
SUSTAIN | 3:40 | 2710223 | 0.418 | 27712 | 0 | MI
SUSTAIN | 3:41 | 2710439 | 0.491 | 27715 | 0 | MI
SUSTAIN | 3:42 | 2710163 | 0.416 | 27710 | 0 | MI
SUSTAIN | 3:43 | 2709546 | 0.411 | 27708 | 0 | MI
SUSTAIN | 3:44 | 2709930 | 0.489 | 27708 | 0 | MI
SUSTAIN | 3:45 | 2710363 | 0.415 | 27714 | 0 | MI
SUSTAIN | 3:46 | 2710464 | 0.481 | 27712 | 0 | MI
SUSTAIN | 3:47 | 2709949 | 0.412 | 27711 | 0 | MI
SUSTAIN | 3:48 | 2710151 | 0.415 | 27713 | 0 | MI
SUSTAIN | 3:49 | 2710256 | 0.506 | 27709 | 0 | MI
SUSTAIN | 3:50 | 2710290 | 0.428 | 27713 | 0 | MI
SUSTAIN | 3:51 | 2710037 | 0.598 | 27710 | 0 | MI
SUSTAIN | 3:52 | 2709887 | 0.432 | 27708 | 0 | MI
SUSTAIN | 3:53 | 2710033 | 0.424 | 27708 | 0 | MI
SUSTAIN | 3:54 | 2709980 | 2.567 | 27712 | 0 | MI
SUSTAIN | 3:55 | 2709856 | 0.425 | 27710 | 0 | MI
SUSTAIN | 3:56 | 2710263 | 0.579 | 27709 | 0 | MI
SUSTAIN | 3:57 | 2710198 | 0.428 | 27713 | 0 | MI
SUSTAIN | 3:58 | 2710279 | 0.411 | 27710 | 0 | MI
SUSTAIN | 3:59 | 2710067 | 0.479 | 27706 | 0 | MI
SUSTAIN | 4:00 | 2709987 | 0.421 | 27712 | 0 | MI
SUSTAIN | 4:01 | 2710560 | 0.531 | 27712 | 0 | MI
SUSTAIN | 4:02 | 2710226 | 0.427 | 27708 | 0 | MI
SUSTAIN | 4:03 | 2710241 | 0.404 | 27709 | 0 | MI
SUSTAIN | 4:04 | 2709885 | 0.479 | 27705 | 0 | MI
SUSTAIN | 4:05 | 2710344 | 0.45 | 27710 | 0 | MI
SUSTAIN | 4:06 | 2710360 | 0.518 | 27710 | 0 | MI
SUSTAIN | 4:07 | 2710294 | 0.41 | 27708 | 0 | MI
SUSTAIN | 4:08 | 2710378 | 0.403 | 27712 | 0 | MI
SUSTAIN | 4:09 | 2710021 | 0.491 | 27710 | 0 | MI
SUSTAIN | 4:10 | 2710136 | 0.431 | 27711 | 0 | MI
SUSTAIN | 4:11 | 2709957 | 0.506 | 27709 | 0 | MI
SUSTAIN | 4:12 | 2710151 | 0.396 | 27707 | 0 | MI
SUSTAIN | 4:13 | 2710417 | 0.391 | 27713 | 0 | MI
SUSTAIN | 4:14 | 2710393 | 0.498 | 27711 | 0 | MI
SUSTAIN | 4:15 | 2710078 | 0.441 | 27713 | 0 | MI
SUSTAIN | 4:16 | 2710169 | 0.49 | 27712 | 0 | MI
SUSTAIN | 4:17 | 2710362 | 0.389 | 27716 | 0 | MI
SUSTAIN | 4:18 | 2710387 | 0.478 | 27715 | 0 | MI
SUSTAIN | 4:19 | 2709877 | 0.496 | 27705 | 0 | MI
SUSTAIN | 4:20 | 2710087 | 0.438 | 27710 | 0 | MI
SUSTAIN | 4:21 | 2710063 | 0.51 | 27711 | 0 | MI
SUSTAIN | 4:22 | 2710232 | 0.466 | 27711 | 0 | MI
SUSTAIN | 4:23 | 2710209 | 0.418 | 27712 | 0 | MI
SUSTAIN | 4:24 | 2709917 | 2.879 | 27708 | 0 | MI
SUSTAIN | 4:25 | 2710084 | 0.433 | 27709 | 0 | MI
SUSTAIN | 4:26 | 2710191 | 0.48 | 27707 | 0 | MI
SUSTAIN | 4:27 | 2710191 | 0.408 | 27711 | 0 | MI
SUSTAIN | 4:28 | 2709667 | 0.436 | 27703 | 0 | MI
SUSTAIN | 4:29 | 2710359 | 0.556 | 27712 | 0 | MI
SUSTAIN | 4:30 | 2709856 | 0.43 | 27708 | 0 | MI
SUSTAIN | 4:31 | 2709939 | 0.502 | 27706 | 0 | MI
SUSTAIN | 4:32 | 2709765 | 0.419 | 27707 | 0 | MI
SUSTAIN | 4:33 | 2709834 | 0.432 | 27705 | 0 | MI
SUSTAIN | 4:34 | 2710167 | 0.511 | 27714 | 0 | MI
SUSTAIN | 4:35 | 2710049 | 0.422 | 27710 | 0 | MI
SUSTAIN | 4:36 | 2710042 | 0.489 | 27712 | 0 | MI
SUSTAIN | 4:37 | 2710270 | 0.426 | 27710 | 0 | MI
SUSTAIN | 4:38 | 2709630 | 0.426 | 27707 | 0 | MI
SUSTAIN | 4:39 | 2709972 | 0.497 | 27707 | 0 | MI
SUSTAIN | 4:40 | 2710293 | 0.408 | 27713 | 0 | MI
SUSTAIN | 4:41 | 2710128 | 0.513 | 27706 | 0 | MI
SUSTAIN | 4:42 | 2710076 | 0.423 | 27711 | 0 | MI
SUSTAIN | 4:43 | 2710338 | 0.432 | 27713 | 0 | MI
SUSTAIN | 4:44 | 2710159 | 0.516 | 27712 | 0 | MI
SUSTAIN | 4:45 | 2710355 | 0.439 | 27710 | 0 | MI
SUSTAIN | 4:46 | 2710248 | 0.5 | 27711 | 0 | MI
SUSTAIN | 4:47 | 2710682 | 0.436 | 27718 | 0 | MI
SUSTAIN | 4:48 | 2710193 | 0.413 | 27715 | 0 | MI
SUSTAIN | 4:49 | 2710188 | 0.477 | 27710 | 0 | MI
SUSTAIN | 4:50 | 2710093 | 0.426 | 27710 | 0 | MI
SUSTAIN | 4:51 | 2710124 | 0.489 | 27713 | 0 | MI
SUSTAIN | 4:52 | 2710257 | 0.415 | 27715 | 0 | MI
SUSTAIN | 4:53 | 2709843 | 0.408 | 27715 | 0 | MI
SUSTAIN | 4:54 | 2710407 | 2.921 | 27712 | 0 | MI
SUSTAIN | 4:55 | 2709870 | 0.439 | 27713 | 0 | MI
SUSTAIN | 4:56 | 2710363 | 0.487 | 27714 | 0 | MI
SUSTAIN | 4:57 | 2710472 | 0.465 | 27715 | 0 | MI
SUSTAIN | 4:58 | 2709997 | 0.441 | 27709 | 0 | MI
SUSTAIN | 4:59 | 2709958 | 0.51 | 27704 | 0 | MI
SUSTAIN | 5:00 | 2710087 | 0.436 | 27709 | 0 | MI
SUSTAIN | 5:01 | 2709864 | 0.52 | 27711 | 0 | MI
SUSTAIN | 5:02 | 2710115 | 0.407 | 27710 | 0 | MI
SUSTAIN | 5:03 | 2710218 | 0.403 | 27710 | 0 | MI
SUSTAIN | 5:04 | 2709935 | 0.505 | 27710 | 0 | MI
SUSTAIN | 5:05 | 2710545 | 0.441 | 27715 | 0 | MI
SUSTAIN | 5:06 | 2710506 | 0.494 | 27713 | 0 | MI
SUSTAIN | 5:07 | 2709966 | 0.394 | 27710 | 0 | MI
SUSTAIN | 5:08 | 2710170 | 0.404 | 27705 | 0 | MI
SUSTAIN | 5:09 | 2710271 | 0.5 | 27713 | 0 | MI
SUSTAIN | 5:10 | 2710088 | 0.433 | 27706 | 0 | MI
SUSTAIN | 5:11 | 2709751 | 0.476 | 27706 | 0 | MI
SUSTAIN | 5:12 | 2710359 | 0.389 | 27716 | 0 | MI
SUSTAIN | 5:13 | 2710245 | 0.406 | 27711 | 0 | MI
SUSTAIN | 5:14 | 2710006 | 0.508 | 27710 | 0 | MI
SUSTAIN | 5:15 | 2710268 | 0.447 | 27710 | 0 | MI
SUSTAIN | 5:16 | 2709846 | 0.482 | 27707 | 0 | MI
SUSTAIN | 5:17 | 2709859 | 0.389 | 27709 | 0 | MI
SUSTAIN | 5:18 | 2710015 | 0.413 | 27712 | 0 | MI
SUSTAIN | 5:19 | 2709918 | 0.518 | 27705 | 0 | MI
SUSTAIN | 5:20 | 2710157 | 0.447 | 27712 | 0 | MI
SUSTAIN | 5:21 | 2710424 | 0.49 | 27710 | 0 | MI
SUSTAIN | 5:22 | 2710364 | 0.407 | 27712 | 0 | MI
SUSTAIN | 5:23 | 2710093 | 0.443 | 27712 | 0 | MI
SUSTAIN | 5:24 | 2710275 | 2.985 | 27713 | 0 | MI
SUSTAIN | 5:25 | 2710977 | 0.436 | 27718 | 0 | MI
SUSTAIN | 5:26 | 2709960 | 0.469 | 27710 | 0 | MI
SUSTAIN | 5:27 | 2709957 | 0.413 | 27707 | 0 | MI
SUSTAIN | 5:28 | 2710182 | 0.429 | 27705 | 0 | MI
SUSTAIN | 5:29 | 2710005 | 0.54 | 27712 | 0 | MI
SUSTAIN | 5:30 | 2710522 | 0.418 | 27715 | 0 | MI
SUSTAIN | 5:31 | 2710032 | 0.482 | 27710 | 0 | MI
SUSTAIN | 5:32 | 2709839 | 0.437 | 27705 | 0 | MI
SUSTAIN | 5:33 | 2710404 | 0.45 | 27714 | 0 | MI
SUSTAIN | 5:34 | 2710114 | 0.5 | 27710 | 0 | MI
SUSTAIN | 5:35 | 2710374 | 0.418 | 27713 | 0 | MI
SUSTAIN | 5:36 | 2710323 | 0.5 | 27713 | 0 | MI
SUSTAIN | 5:37 | 2710254 | 0.413 | 27709 | 0 | MI
SUSTAIN | 5:38 | 2710166 | 0.532 | 27711 | 0 | MI
SUSTAIN | 5:39 | 2710110 | 0.511 | 27710 | 0 | MI
SUSTAIN | 5:40 | 2710449 | 0.417 | 27715 | 0 | MI
SUSTAIN | 5:41 | 2710255 | 0.496 | 27712 | 0 | MI
SUSTAIN | 5:42 | 2710164 | 0.422 | 27713 | 0 | MI
SUSTAIN | 5:43 | 2710082 | 0.422 | 27708 | 0 | MI
SUSTAIN | 5:44 | 2710157 | 0.479 | 27711 | 0 | MI
SUSTAIN | 5:45 | 2710209 | 0.423 | 27714 | 0 | MI
SUSTAIN | 5:46 | 2710108 | 0.49 | 27715 | 0 | MI
SUSTAIN | 5:47 | 2710346 | 0.424 | 27714 | 0 | MI
SUSTAIN | 5:48 | 2710291 | 0.472 | 27716 | 0 | MI
SUSTAIN | 5:49 | 2710383 | 0.588 | 27712 | 0 | MI
SUSTAIN | 5:50 | 2710297 | 0.423 | 27712 | 0 | MI
SUSTAIN | 5:51 | 2709722 | 0.499 | 27704 | 0 | MI
SUSTAIN | 5:52 | 2710101 | 0.433 | 27708 | 0 | MI
SUSTAIN | 5:53 | 2710281 | 0.436 | 27710 | 0 | MI
SUSTAIN | 5:54 | 2710201 | 3.154 | 27714 | 0 | MI
SUSTAIN | 5:55 | 2710370 | 0.43 | 27713 | 0 | MI
SUSTAIN | 5:56 | 2710027 | 0.487 | 27705 | 0 | MI
SUSTAIN | 5:57 | 2710221 | 0.412 | 27713 | 0 | MI
SUSTAIN | 5:58 | 2710072 | 0.422 | 27708 | 0 | MI
SUSTAIN | 5:59 | 2710387 | 0.497 | 27710 | 0 | MI
SUSTAIN | 6:00 | 2709656 | 0.416 | 27701 | 0 | MI
SUSTAIN | 6:01 | 2709525 | 0.447 | 27705 | 0 | MI
SUSTAIN | 6:02 | 2710652 | 0.472 | 27715 | 0 | MI
SUSTAIN | 6:03 | 2710468 | 0.452 | 27714 | 0 | MI
SUSTAIN | 6:04 | 2710140 | 0.661 | 27709 | 0 | MI
SUSTAIN | 6:05 | 2710180 | 0.426 | 27708 | 0 | MI
SUSTAIN | 6:06 | 2710323 | 0.422 | 27714 | 0 | MI
SUSTAIN | 6:07 | 2710126 | 0.485 | 27710 | 0 | MI
SUSTAIN | 6:08 | 2710590 | 0.437 | 27715 | 0 | MI
SUSTAIN | 6:09 | 2710010 | 0.514 | 27709 | 0 | MI
SUSTAIN | 6:10 | 2710491 | 0.419 | 27711 | 0 | MI
SUSTAIN | 6:11 | 2710012 | 0.413 | 27707 | 0 | MI
SUSTAIN | 6:12 | 2710127 | 0.488 | 27711 | 0 | MI
SUSTAIN | 6:13 | 2710115 | 0.438 | 27709 | 0 | MI
SUSTAIN | 6:14 | 2710307 | 0.527 | 27709 | 0 | MI
SUSTAIN | 6:15 | 2710094 | 0.413 | 27714 | 0 | MI
SUSTAIN | 6:16 | 2710241 | 0.398 | 27712 | 0 | MI
SUSTAIN | 6:17 | 2710406 | 0.514 | 27715 | 0 | MI
SUSTAIN | 6:18 | 2710210 | 0.434 | 27710 | 0 | MI
SUSTAIN | 6:19 | 2710002 | 0.495 | 27708 | 0 | MI
SUSTAIN | 6:20 | 2710298 | 0.409 | 27715 | 0 | MI
SUSTAIN | 6:21 | 2710049 | 0.405 | 27708 | 0 | MI
SUSTAIN | 6:22 | 2710008 | 0.527 | 27710 | 0 | MI
SUSTAIN | 6:23 | 2710613 | 0.438 | 27715 | 0 | MI
SUSTAIN | 6:24 | 2710195 | 2.586 | 27706 | 0 | MI
SUSTAIN | 6:25 | 2709999 | 0.409 | 27711 | 0 | MI
SUSTAIN | 6:26 | 2709568 | 0.415 | 27706 | 0 | MI
SUSTAIN | 6:27 | 2710241 | 0.509 | 27711 | 0 | MI
SUSTAIN | 6:28 | 2710219 | 0.437 | 27709 | 0 | MI
SUSTAIN | 6:29 | 2710258 | 0.483 | 27708 | 0 | MI
SUSTAIN | 6:30 | 2710015 | 0.421 | 27714 | 0 | MI
SUSTAIN | 6:31 | 2710272 | 0.431 | 27713 | 0 | MI
SUSTAIN | 6:32 | 2710209 | 0.53 | 27710 | 0 | MI
SUSTAIN | 6:33 | 2710076 | 0.431 | 27710 | 0 | MI
SUSTAIN | 6:34 | 2709788 | 0.49 | 27706 | 0 | MI
SUSTAIN | 6:35 | 2710232 | 0.412 | 27714 | 0 | MI
SUSTAIN | 6:36 | 2710149 | 0.421 | 27711 | 0 | MI
SUSTAIN | 6:37 | 2710273 | 0.514 | 27715 | 0 | MI
SUSTAIN | 6:38 | 2710069 | 0.414 | 27709 | 0 | MI
SUSTAIN | 6:39 | 2710574 | 0.568 | 27716 | 0 | MI
SUSTAIN | 6:40 | 2710404 | 0.418 | 27712 | 0 | MI
SUSTAIN | 6:41 | 2710162 | 0.492 | 27707 | 0 | MI
SUSTAIN | 6:42 | 2710575 | 0.476 | 27717 | 0 | MI
SUSTAIN | 6:43 | 2709973 | 0.413 | 27708 | 0 | MI
SUSTAIN | 6:44 | 2710179 | 0.485 | 27712 | 0 | MI
SUSTAIN | 6:45 | 2710368 | 0.412 | 27711 | 0 | MI
SUSTAIN | 6:46 | 2710045 | 0.414 | 27710 | 0 | MI
SUSTAIN | 6:47 | 2710213 | 0.463 | 27713 | 0 | MI
SUSTAIN | 6:48 | 2710317 | 0.417 | 27709 | 0 | MI
SUSTAIN | 6:49 | 2710403 | 0.486 | 27709 | 0 | MI
SUSTAIN | 6:50 | 2710455 | 0.423 | 27713 | 0 | MI
SUSTAIN | 6:51 | 2710063 | 0.407 | 27711 | 0 | MI
SUSTAIN | 6:52 | 2710052 | 0.482 | 27711 | 0 | MI
SUSTAIN | 6:53 | 2710200 | 0.432 | 27711 | 0 | MI
SUSTAIN | 6:54 | 2710301 | 2.976 | 27715 | 0 | MI
SUSTAIN | 6:55 | 2709966 | 0.425 | 27712 | 0 | MI
SUSTAIN | 6:56 | 2710141 | 0.418 | 27709 | 0 | MI
SUSTAIN | 6:57 | 2710075 | 0.496 | 27709 | 0 | MI
SUSTAIN | 6:58 | 2710092 | 0.439 | 27709 | 0 | MI
SUSTAIN | 6:59 | 2710262 | 0.508 | 27716 | 0 | MI
SUSTAIN | 7:00 | 2710351 | 0.409 | 27714 | 0 | MI
SUSTAIN | 7:01 | 2709863 | 0.412 | 27705 | 0 | MI
SUSTAIN | 7:02 | 2710090 | 0.489 | 27710 | 0 | MI
SUSTAIN | 7:03 | 2710121 | 0.457 | 27709 | 0 | MI
SUSTAIN | 7:04 | 2710497 | 0.514 | 27716 | 0 | MI
SUSTAIN | 7:05 | 2710276 | 0.403 | 27713 | 0 | MI
SUSTAIN | 7:06 | 2710012 | 0.423 | 27710 | 0 | MI
SUSTAIN | 7:07 | 2710177 | 0.519 | 27711 | 0 | MI
SUSTAIN | 7:08 | 2709744 | 0.432 | 27706 | 0 | MI
SUSTAIN | 7:09 | 2709695 | 0.502 | 27707 | 0 | MI
SUSTAIN | 7:10 | 2710363 | 0.417 | 27714 | 0 | MI
SUSTAIN | 7:11 | 2709991 | 0.427 | 27707 | 0 | MI
SUSTAIN | 7:12 | 2710035 | 0.528 | 27710 | 0 | MI
SUSTAIN | 7:13 | 2709948 | 0.424 | 27710 | 0 | MI
SUSTAIN | 7:14 | 2710478 | 0.484 | 27716 | 0 | MI
SUSTAIN | 7:15 | 2709848 | 0.424 | 27706 | 0 | MI
SUSTAIN | 7:16 | 2710383 | 0.505 | 27716 | 0 | MI
SUSTAIN | 7:17 | 2709934 | 0.591 | 27709 | 0 | MI
SUSTAIN | 7:18 | 2710186 | 0.411 | 27710 | 0 | MI
SUSTAIN | 7:19 | 2709915 | 0.484 | 27709 | 0 | MI
SUSTAIN | 7:20 | 2710380 | 0.421 | 27713 | 0 | MI
SUSTAIN | 7:21 | 2710555 | 0.444 | 27714 | 0 | MI
SUSTAIN | 7:22 | 2709880 | 0.507 | 27708 | 0 | MI
SUSTAIN | 7:23 | 2710151 | 0.408 | 27710 | 0 | MI
SUSTAIN | 7:24 | 2706299 | 0.757 | 27674 | 0 | MI
SUSTAIN | 7:25 | 2714205 | 2.229 | 27755 | 0 | MI
SUSTAIN | 7:26 | 2710011 | 0.428 | 27712 | 0 | MI
SUSTAIN | 7:27 | 2709983 | 0.498 | 27709 | 0 | MI
SUSTAIN | 7:28 | 2710383 | 0.403 | 27715 | 0 | MI
SUSTAIN | 7:29 | 2710249 | 0.472 | 27711 | 0 | MI
SUSTAIN | 7:30 | 2710119 | 0.439 | 27710 | 0 | MI
SUSTAIN | 7:31 | 2710215 | 0.433 | 27712 | 0 | MI
SUSTAIN | 7:32 | 2710201 | 0.512 | 27710 | 0 | MI
SUSTAIN | 7:33 | 2710287 | 0.396 | 27711 | 0 | MI
SUSTAIN | 7:34 | 2710159 | 0.542 | 27711 | 0 | MI
SUSTAIN | 7:35 | 2710214 | 0.456 | 27713 | 0 | MI
SUSTAIN | 7:36 | 2710447 | 0.533 | 27717 | 0 | MI
SUSTAIN | 7:37 | 2709959 | 0.472 | 27708 | 0 | MI
SUSTAIN | 7:38 | 2710089 | 0.393 | 27710 | 0 | MI
SUSTAIN | 7:39 | 2710498 | 0.534 | 27717 | 0 | MI
SUSTAIN | 7:40 | 2710006 | 0.433 | 27710 | 0 | MI
SUSTAIN | 7:41 | 2710161 | 0.417 | 27715 | 0 | MI
SUSTAIN | 7:42 | 2710143 | 0.463 | 27710 | 0 | MI
SUSTAIN | 7:43 | 2709900 | 0.391 | 27708 | 0 | MI
SUSTAIN | 7:44 | 2710010 | 0.517 | 27708 | 0 | MI
SUSTAIN | 7:45 | 2710100 | 0.444 | 27710 | 0 | MI
SUSTAIN | 7:46 | 2710270 | 0.406 | 27713 | 0 | MI
SUSTAIN | 7:47 | 2710113 | 0.467 | 27710 | 0 | MI
SUSTAIN | 7:48 | 2710254 | 0.416 | 27709 | 0 | MI
SUSTAIN | 7:49 | 2710658 | 0.5 | 27717 | 0 | MI
SUSTAIN | 7:50 | 2710289 | 0.436 | 27708 | 0 | MI
SUSTAIN | 7:51 | 2710491 | 0.405 | 27715 | 0 | MI
SUSTAIN | 7:52 | 2710075 | 0.471 | 27710 | 0 | MI
SUSTAIN | 7:53 | 2710386 | 0.418 | 27710 | 0 | MI
SUSTAIN | 7:54 | 2709827 | 0.522 | 27708 | 0 | MI
SUSTAIN | 7:55 | 2710238 | 3.32 | 27707 | 0 | MI
SUSTAIN | 7:56 | 2710025 | 0.403 | 27712 | 0 | MI
SUSTAIN | 7:57 | 2710019 | 0.482 | 27710 | 0 | MI
SUSTAIN | 7:58 | 2710577 | 0.441 | 27716 | 0 | MI
SUSTAIN | 7:59 | 2710277 | 0.511 | 27710 | 0 | MI
SUSTAIN | 8:00 | 2710131 | 0.419 | 27711 | 0 | MI
SUSTAIN | 8:01 | 2710081 | 0.473 | 27706 | 0 | MI
SUSTAIN | 8:02 | 2710338 | 0.631 | 27715 | 0 | MI
SUSTAIN | 8:03 | 2709793 | 0.464 | 27707 | 0 | MI
SUSTAIN | 8:04 | 2710196 | 0.593 | 27709 | 0
RAMPD_100 | 8:05 | 2710200 | 0.445 | 27711 | 0
RAMPD_100 | 8:06 | 2710518 | 0.437 | 27712 | 0
RAMPD_100 | 8:07 | 2710082 | 0.62 | 27715 | 0
RAMPD_100 | 8:08 | 2710193 | 0.481 | 27714 | 0 | MI
RAMPD_100 | 8:09 | 2710308 | 0.58 | 27715 | 0 | MI
RAMPD_100 | 8:10 | 2709896 | 0.493 | 27708 | 0 | MI
RAMPD_100 | 8:11 | 2710622 | 0.481 | 27713 | 0 | MI
RAMPD_100 | 8:12 | 2710461 | 0.581 | 27713 | 0 | MI
RAMPD_100 | 8:13 | 2710185 | 0.593 | 27710 | 0 | MI
RAMPD_100 | 8:14 | 2710003 | 0.614 | 27709 | 0 | MI
RAMPD_100 | 8:15 | 2710203 | 0.476 | 27710 | 0 | MI
RAMPD_100 | 8:16 | 2710549 | 0.549 | 27716 | 0 | MI
RAMPD_100 | 8:17 | 2709786 | 0.561 | 27705 | 0 | MI
RAMPD_100 | 8:18 | 2710367 | 0.447 | 27705 | 0
RAMPD_95 | 8:19 | 2611521 | 0.421 | 26700 | 0
RAMPD_95 | 8:20 | 2574709 | 0.342 | 26327 | 0
RAMPD_95 | 8:21 | 2574759 | 0.35 | 26326 | 0
RAMPD_95 | 8:22 | 2574794 | 0.387 | 26329 | 0 | MI
RAMPD_95 | 8:23 | 2574725 | 0.334 | 26327 | 0 | MI
RAMPD_95 | 8:24 | 2574791 | 0.38 | 26327 | 0 | MI
RAMPD_95 | 8:25 | 2574701 | 1.629 | 26324 | 0 | MI
RAMPD_95 | 8:26 | 2574611 | 0.343 | 26323 | 0 | MI
RAMPD_95 | 8:27 | 2574497 | 0.387 | 26328 | 0 | MI
RAMPD_95 | 8:28 | 2574577 | 0.332 | 26325 | 0 | MI
RAMPD_95 | 8:29 | 2574468 | 0.382 | 26327 | 0 | MI
RAMPD_95 | 8:30 | 2574638 | 0.35 | 26325 | 0 | MI
RAMPD_95 | 8:31 | 2574736 | 0.339 | 26327 | 0 | MI
RAMPD_95 | 8:32 | 2574791 | 0.383 | 26329 | 0
RAMPD_90 | 8:33 | 2482853 | 0.311 | 25389 | 0
RAMPD_90 | 8:34 | 2440416 | 0.36 | 24956 | 0
RAMPD_90 | 8:35 | 2439135 | 0.338 | 24944 | 0
RAMPD_90 | 8:36 | 2439190 | 0.325 | 24938 | 0 | MI
RAMPD_90 | 8:37 | 2439201 | 0.355 | 24942 | 0 | MI
RAMPD_90 | 8:38 | 2439178 | 0.313 | 24939 | 0 | MI
RAMPD_90 | 8:39 | 2439253 | 0.373 | 24943 | 0 | MI
RAMPD_90 | 8:40 | 2439055 | 0.335 | 24936 | 0 | MI
RAMPD_90 | 8:41 | 2439596 | 0.322 | 24944 | 0 | MI
RAMPD_90 | 8:42 | 2439290 | 0.348 | 24941 | 0 | MI
RAMPD_90 | 8:43 | 2439468 | 0.316 | 24943 | 0 | MI
RAMPD_90 | 8:44 | 2439391 | 0.364 | 24944 | 0 | MI
RAMPD_90 | 8:45 | 2439104 | 0.33 | 24939 | 0 | MI
RAMPD_90 | 8:46 | 2438820 | 0.32 | 24935 | 0
RAMPD_80 | 8:47 | 2245610 | 0.298 | 22959 | 0
RAMPD_80 | 8:48 | 2167376 | 0.266 | 22159 | 0
RAMPD_80 | 8:49 | 2167832 | 0.283 | 22164 | 0
RAMPD_80 | 8:50 | 2167788 | 0.273 | 22166 | 0 | MI
RAMPD_80 | 8:51 | 2168465 | 0.266 | 22173 | 0 | MI
RAMPD_80 | 8:52 | 2168235 | 0.279 | 22168 | 0 | MI
RAMPD_80 | 8:53 | 2167953 | 0.268 | 22169 | 0 | MI
RAMPD_80 | 8:54 | 2168117 | 0.304 | 22168 | 0 | MI
RAMPD_80 | 8:55 | 2167850 | 0.422 | 22165 | 0 | MI
RAMPD_80 | 8:56 | 2168228 | 0.266 | 22170 | 0 | MI
RAMPD_80 | 8:57 | 2167946 | 0.282 | 22165 | 0 | MI
RAMPD_80 | 8:58 | 2168077 | 0.27 | 22169 | 0 | MI
RAMPD_80 | 8:59 | 2167977 | 0.286 | 22165 | 0 | MI
RAMPD_80 | 9:00 | 2167972 | 0.268 | 22168 | 0
RAMPD_50 | 9:01 | 1661876 | 0.234 | 16992 | 0
RAMPD_50 | 9:02 | 1356358 | 0.212 | 13868 | 0
RAMPD_50 | 9:03 | 1355202 | 0.213 | 13859 | 0
RAMPD_50 | 9:04 | 1354902 | 0.213 | 13854 | 0 | MI
RAMPD_50 | 9:05 | 1355354 | 0.212 | 13855 | 0 | MI
RAMPD_50 | 9:06 | 1355417 | 0.212 | 13857 | 0 | MI
RAMPD_50 | 9:07 | 1355264 | 0.213 | 13856 | 0 | MI
RAMPD_50 | 9:08 | 1355259 | 0.212 | 13856 | 0 | MI
RAMPD_50 | 9:09 | 1355279 | 0.212 | 13861 | 0 | MI
RAMPD_50 | 9:10 | 1355181 | 0.212 | 13856 | 0 | MI
RAMPD_50 | 9:11 | 1355129 | 0.213 | 13855 | 0 | MI
RAMPD_50 | 9:12 | 1355029 | 0.212 | 13855 | 0 | MI
RAMPD_50 | 9:13 | 1354895 | 0.214 | 13854 | 0 | MI
RAMPD_50 | 9:14 | 1355428 | 0.212 | 13857 | 0
RAMPD_10 | 9:15 | 803083 | 0.195 | 8212 | 0
RAMPD_10 | 9:16 | 294463 | 0.152 | 3011 | 0
RAMPD_10 | 9:17 | 271069 | 0.148 | 2771 | 0
RAMPD_10 | 9:18 | 271008 | 0.148 | 2771 | 0 | MI
RAMPD_10 | 9:19 | 270884 | 0.148 | 2769 | 0 | MI
RAMPD_10 | 9:20 | 271029 | 0.148 | 2771 | 0 | MI
RAMPD_10 | 9:21 | 271031 | 0.148 | 2770 | 0 | MI
RAMPD_10 | 9:22 | 271048 | 0.148 | 2771 | 0 | MI
RAMPD_10 | 9:23 | 271006 | 0.148 | 2771 | 0 | MI
RAMPD_10 | 9:24 | 271104 | 0.149 | 2772 | 0 | MI
RAMPD_10 | 9:25 | 271039 | 0.149 | 2771 | 0 | MI
RAMPD_10 | 9:26 | 271071 | 0.149 | 2771 | 0 | MI
RAMPD_10 | 9:27 | 271079 | 0.149 | 2770 | 0 | MI
RAMPD_10 | 9:28 | 271077 | 0.149 | 2770 | 0
RAMPU_50 | 9:29 | 785395 | 0.195 | 8032 | 0
RAMPU_50 | 9:30 | 1302499 | 0.21 | 13314 | 0
RAMPU_50 | 9:31 | 1354992 | 0.212 | 13855 | 0
RAMPU_50 | 9:32 | 1354806 | 0.212 | 13853 | 0 | MI
RAMPU_50 | 9:33 | 1355068 | 0.212 | 13857 | 0 | MI
RAMPU_50 | 9:34 | 1355207 | 0.212 | 13858 | 0 | MI
RAMPU_50 | 9:35 | 1355194 | 0.212 | 13856 | 0 | MI
RAMPU_50 | 9:36 | 1355472 | 0.212 | 13858 | 0 | MI
RAMPU_50 | 9:37 | 1355324 | 0.212 | 13858 | 0 | MI
RAMPU_50 | 9:38 | 1355228 | 0.212 | 13857 | 0 | MI
RAMPU_50 | 9:39 | 1355139 | 0.213 | 13856 | 0 | MI
RAMPU_50 | 9:40 | 1355368 | 0.212 | 13860 | 0 | MI
RAMPU_50 | 9:41 | 1355077 | 0.213 | 13854 | 0 | MI
RAMPU_50 | 9:42 | 1354699 | 0.212 | 13853 | 0
RAMPU_80 | 9:43 | 1688106 | 0.231 | 17260 | 0
RAMPU_80 | 9:44 | 2117809 | 0.263 | 21653 | 0
RAMPU_80 | 9:45 | 2168176 | 0.283 | 22170 | 0
RAMPU_80 | 9:46 | 2168025 | 0.272 | 22169 | 0 | MI
RAMPU_80 | 9:47 | 2168112 | 0.297 | 22167 | 0 | MI
RAMPU_80 | 9:48 | 2168359 | 0.268 | 22169 | 0 | MI
RAMPU_80 | 9:49 | 2168041 | 0.27 | 22169 | 0 | MI
RAMPU_80 | 9:50 | 2167991 | 0.283 | 22167 | 0 | MI
RAMPU_80 | 9:51 | 2168424 | 0.27 | 22169 | 0 | MI
RAMPU_80 | 9:52 | 2168233 | 0.308 | 22167 | 0 | MI
RAMPU_80 | 9:53 | 2168333 | 0.27 | 22171 | 0 | MI
RAMPU_80 | 9:54 | 2167999 | 0.27 | 22168 | 0 | MI
RAMPU_80 | 9:55 | 2168233 | 0.461 | 22170 | 0 | MI
RAMPU_80 | 9:56 | 2167973 | 0.271 | 22165 | 0
RAMPU_90 | 9:57 | 2219791 | 0.303 | 22697 | 0
RAMPU_90 | 9:58 | 2406964 | 0.318 | 24609 | 0
RAMPU_90 | 9:59 | 2439182 | 0.322 | 24943 | 0
RAMPU_90 | 10:00 | 2438994 | 0.366 | 24938 | 0 | MI
RAMPU_90 | 10:01 | 2439194 | 0.334 | 24942 | 0 | MI
RAMPU_90 | 10:02 | 2438962 | 0.366 | 24938 | 0 | MI
RAMPU_90 | 10:03 | 2439265 | 0.33 | 24945 | 0 | MI
RAMPU_90 | 10:04 | 2439524 | 0.324 | 24942 | 0 | MI
RAMPU_90 | 10:05 | 2439062 | 0.363 | 24938 | 0 | MI
RAMPU_90 | 10:06 | 2439034 | 0.325 | 24938 | 0 | MI
RAMPU_90 | 10:07 | 2439164 | 0.387 | 24937 | 0 | MI
RAMPU_90 | 10:08 | 2438894 | 0.334 | 24939 | 0 | MI
RAMPU_90 | 10:09 | 2439138 | 0.335 | 24939 | 0 | MI
RAMPU_90 | 10:10 | 2439093 | 0.371 | 24942 | 0
RAMPU_95 | 10:11 | 2455075 | 0.335 | 25107 | 0
RAMPU_95 | 10:12 | 2546980 | 0.435 | 26039 | 0
RAMPU_95 | 10:13 | 2574810 | 0.37 | 26329 | 0
RAMPU_95 | 10:14 | 2574980 | 0.368 | 26328 | 0 | MI
RAMPU_95 | 10:15 | 2574758 | 0.454 | 26325 | 0 | MI
RAMPU_95 | 10:16 | 2574583 | 0.389 | 26327 | 0 | MI
RAMPU_95 | 10:17 | 2574753 | 0.46 | 26329 | 0 | MI
RAMPU_95 | 10:18 | 2574180 | 0.391 | 26324 | 0 | MI
RAMPU_95 | 10:19 | 2574714 | 0.382 | 26327 | 0 | MI
RAMPU_95 | 10:20 | 2574423 | 0.49 | 26321 | 0 | MI
RAMPU_95 | 10:21 | 2574643 | 0.43 | 26323 | 0 | MI
RAMPU_95 | 10:22 | 2574480 | 0.488 | 26326 | 0 | MI
RAMPU_95 | 10:23 | 2574494 | 0.403 | 26322 | 0 | MI
RAMPU_95 | 10:24 | 2574358 | 0.411 | 26327 | 0
RAMPU_100 | 10:25 | 2623157 | 3.14 | 26822 | 0
RAMPU_100 | 10:26 | 2710232 | 0.611 | 27711 | 0
RAMPU_100 | 10:27 | 2710239 | 0.754 | 27713 | 0
RAMPU_100 | 10:28 | 2710133 | 0.484 | 27713 | 0 | MI
RAMPU_100 | 10:29 | 2710140 | 0.434 | 27713 | 0 | MI
RAMPU_100 | 10:30 | 2710055 | 0.565 | 27709 | 0 | MI
RAMPU_100 | 10:31 | 2709946 | 0.492 | 27705 | 0 | MI
RAMPU_100 | 10:32 | 2710063 | 0.571 | 27708 | 0 | MI
RAMPU_100 | 10:33 | 2710117 | 0.446 | 27706 | 0 | MI
RAMPU_100 | 10:34 | 2710114 | 0.479 | 27710 | 0 | MI
RAMPU_100 | 10:35 | 2710226 | 0.583 | 27711 | 0 | MI
RAMPU_100 | 10:36 | 2710190 | 0.498 | 27713 | 0 | MI
RAMPU_100 | 10:37 | 2710187 | 0.553 | 27714 | 0 | MI
RAMPU_100 | 10:38 | 2710238 | 0.46 | 27713 | 0
RAMP_0 | 10:39 | 1417363 | 0.374 | 14492 | 0
RAMP_0 | 10:40 | 132435 | 0.146 | 1354 | 0
RAMP_0 | 10:41 | 0 | N/A | 0 | 0
RAMP_0 | 10:42 | 0 | N/A | 0 | 0 | MI
RAMP_0 | 10:43 | 0 | N/A | 0 | 0 | MI
RAMP_0 | 10:44 | 0 | N/A | 0 | 0 | MI
RAMP_0 | 10:45 | 0 | N/A | 0 | 0 | MI
RAMP_0 | 10:46 | 0 | N/A | 0 | 0 | MI
RAMP_0 | 10:47 | 0 | N/A | 0 | 0 | MI
RAMP_0 | 10:48 | 0 | N/A | 0 | 0 | MI
RAMP_0 | 10:49 | 0 | N/A | 0 | 0 | MI
RAMP_0 | 10:50 | 0 | N/A | 0 | 0 | MI
RAMP_0 | 10:51 | 0 | N/A | 0 | 0 | MI
RAMP_0 | 10:52 | 0 | N/A | 0 | 0
REPEAT_1_10 | 10:53 | 130838 | 0.143 | 1338 | 0
REPEAT_1_10 | 10:54 | 259817 | 0.146 | 2655 | 0
REPEAT_1_10 | 10:55 | 270880 | 0.148 | 2769 | 0
REPEAT_1_10 | 10:56 | 270980 | 0.148 | 2769 | 0 | MI
REPEAT_1_10 | 10:57 | 270965 | 0.148 | 2771 | 0 | MI
REPEAT_1_10 | 10:58 | 271140 | 0.148 | 2771 | 0 | MI
REPEAT_1_10 | 10:59 | 271070 | 0.148 | 2770 | 0 | MI
REPEAT_1_10 | 11:00 | 270914 | 0.148 | 2768 | 0 | MI
REPEAT_1_10 | 11:01 | 271078 | 0.148 | 2772 | 0 | MI
REPEAT_1_10 | 11:02 | 271054 | 0.149 | 2772 | 0 | MI
REPEAT_1_10 | 11:03 | 271014 | 0.149 | 2770 | 0 | MI
REPEAT_1_10 | 11:04 | 271085 | 0.149 | 2771 | 0 | MI
REPEAT_1_10 | 11:05 | 271000 | 0.148 | 2771 | 0 | MI
REPEAT_1_10 | 11:06 | 270955 | 0.148 | 2771 | 0
REPEAT_1_100 | 11:07 | 1416333 | 0.296 | 14478 | 0
REPEAT_1_100 | 11:08 | 2587565 | 0.429 | 26457 | 0
REPEAT_1_100 | 11:09 | 2709991 | 0.52 | 27709 | 0
REPEAT_1_100 | 11:10 | 2710500 | 0.562 | 27712 | 0 | MI
REPEAT_1_100 | 11:11 | 2709931 | 0.482 | 27710 | 0 | MI
REPEAT_1_100 | 11:12 | 2710402 | 0.602 | 27715 | 0 | MI
REPEAT_1_100 | 11:13 | 2709990 | 0.512 | 27708 | 0 | MI
REPEAT_1_100 | 11:14 | 2710207 | 0.46 | 27711 | 0 | MI
REPEAT_1_100 | 11:15 | 2710090 | 0.551 | 27711 | 0 | MI
REPEAT_1_100 | 11:16 | 2710039 | 0.487 | 27710 | 0 | MI
REPEAT_1_100 | 11:17 | 2710324 | 0.691 | 27714 | 0 | MI
REPEAT_1_100 | 11:18 | 2709874 | 0.501 | 27708 | 0 | MI
REPEAT_1_100 | 11:19 | 2709871 | 0.446 | 27706 | 0 | MI
REPEAT_1_100 | 11:20 | 2709912 | 0.556 | 27710 | 0
REPEAT_2_10 | 11:21 | 1534318 | 0.348 | 15688 | 0
REPEAT_2_10 | 11:22 | 361240 | 0.16 | 3694 | 0
REPEAT_2_10 | 11:23 | 271012 | 0.148 | 2771 | 0
REPEAT_2_10 | 11:24 | 270982 | 0.148 | 2770 | 0 | MI
REPEAT_2_10 | 11:25 | 271072 | 0.148 | 2771 | 0 | MI
REPEAT_2_10 | 11:26 | 270947 | 0.149 | 2769 | 0 | MI
REPEAT_2_10 | 11:27 | 271000 | 0.149 | 2770 | 0 | MI
REPEAT_2_10 | 11:28 | 271078 | 0.148 | 2771 | 0 | MI
REPEAT_2_10 | 11:29 | 271154 | 0.148 | 2772 | 0 | MI
REPEAT_2_10 | 11:30 | 270975 | 0.149 | 2771 | 0 | MI
REPEAT_2_10 | 11:31 | 271029 | 0.148 | 2770 | 0 | MI
REPEAT_2_10 | 11:32 | 271043 | 0.148 | 2770 | 0 | MI
REPEAT_2_10 | 11:33 | 270999 | 0.148 | 2771 | 0 | MI
REPEAT_2_10 | 11:34 | 270992 | 0.148 | 2771 | 0
REPEAT_2_100 | 11:35 | 1409253 | 0.256 | 14408 | 0
REPEAT_2_100 | 11:36 | 2586711 | 0.423 | 26447 | 0
REPEAT_2_100 | 11:37 | 2710474 | 0.629 | 27715 | 0
REPEAT_2_100 | 11:38 | 2710143 | 0.466 | 27710 | 0 | MI
REPEAT_2_100 | 11:39 | 2709332 | 0.468 | 27702 | 0 | MI
REPEAT_2_100 | 11:40 | 2710209 | 0.623 | 27717 | 0 | MI
REPEAT_2_100 | 11:41 | 2710167 | 0.677 | 27708 | 0 | MI
REPEAT_2_100 | 11:42 | 2710260 | 0.623 | 27713 | 0 | MI
REPEAT_2_100 | 11:43 | 2710124 | 0.452 | 27708 | 0 | MI
REPEAT_2_100 | 11:44 | 2710013 | 0.455 | 27711 | 0 | MI
REPEAT_2_100 | 11:45 | 2710411 | 0.546 | 27716 | 0 | MI
REPEAT_2_100 | 11:46 | 2710616 | 0.488 | 27713 | 0 | MI
REPEAT_2_100 | 11:47 | 2710439 | 0.571 | 27713 | 0 | MI
REPEAT_2_100 | 11:48 | 2710126 | 0.435 | 27710 | 0
BM_END | 11:49 | 1366800 | 0.352 | 13975 | 0
BM_END | 11:50 | 71677 | 0.137 | 732 | 0
BM_END | 11:51 | 0 | N/A | 0 | 0 | MI
BM_END | 11:52 | 0 | N/A | 0 | 0
BM_END | 11:53 | 0 | N/A | 0 | 0
BM_END | 11:54 | 0 | N/A | 0 | 0
Formulas:
Time = [Time, row above]+([Time, row below]-[Time, row above])/2
Note on A1: Carrel Wilson: cell is used by macro to locate beginning of the field rows. Do NOT change the contents of this cell!
Note on A2: Carrel Wilson: This worksheet is included for a RAMP or RANGE run showing the data for the profile charts for the run - IOPs, Average RT, & Data Rate

## QL-Charts
8 |  | QL-Charts
sheet usage | Quick Look Test Run Profile Charts
Reduced on: | Aug 18, 2020 3:28 PM |  | Run Name: | SPC1_METRICS_0
DR version: | v1.36
Note on A1: Carrel Wilson: cell is used by macro to locate beginning of the field rows. Do NOT change the contents of this cell!
Note on A2: Carrel Wilson: This worksheet is included for a RAMP or RANGE run showing the profile charts for the run - IOPs, Average RT, & Data Rate